Labins Consulting Services
http://www.labins.com

Laboratory Data Acquisition

Technical User Manual

LIS Data Extract Summary

LSDE (Laboratory System Data Extraction) is a full function application that extracts data
from the laboratory system and transfers it to an external server. It can be used as a turnkey 
application or modified to meet your specification. LSDE software package comes with a menu
driven utility that allows you to configure and control the extraction process. Extraction control
utility is install as LAB function LSDE.

Extracted data from LIS Cache/M global arrays are formatted and transferred to an external server
where the data can be accessed via SQL statements or other programming languages 
such as java, C#, C++, VB, etc.

Table of Contents

Full Extract	6

Table 2 Full Extraction Routines	7

Incremental extract	9

Manual Start/Stop Incremental Extractions:	9

AIX Shell scripts	11

Routines:	12

Data Extraction Files	19

Text Files	19

Data Dictionaries	20

File Specifications	21

Test/Battery/Package Dictionary	21

Battery	21

Test/Battery/Package Dictionary	21

Test	21

Test/Battery/Package Dictionary	22

Package	22

English Text Translations	22

Laboratory Department Dictionary	23

Laboratory Location Dictionary	23

Performing Laboratory Dictionary	23

Diagnosis Dictionary	24

Tube Type Dictionary	24

Reference Lab Dictionary	24

Tech Code Dictionary	25

Location Code/Room Number Dictionary	25

Event Type Maintenance	26

Hospital Id Codes for Multiple Hospital Sites	26

Physician Dictionary	26

Normal Range File	27

Patient Master File	28

Patient Results File	29

Test Method Code File	32

Accession History File	32

Site Last Load File	32

Site Last Date Processed File	33

FTP File Transfer Confirmation File	33

Transaction Global File Specification	34

LSDE Utility Documentation	36

Figure 1 Full Extraction

- Full Extract

To start a full extraction use lab system function LSDE options 2 ,1 “Start /Stop Full Extract”  (see LSDE Utility Documentation for details).

Full extractions are started manually using LSDE Utility option 2 which calls AIX script fulextract.

^ultn:	 Full Control Processor (See Figure 1 above)

- Step 1 Start by using LSDE function 2,1

- Steps 2 - 3  AIX script “fulextract” is executed which in turn jobs up the control processor ultn.

- Step 4  All previous extracted files are deleted from the LSDE directory in the aix003 server.

- Step 5  Gets the Server address from lab global ^uextract.

- Steps 6 - 8 Executes AIX script extstart to delete all *.dat files from the Server and retrieve Site_LastDateProcessed.txt date stamp file BUT DOES NOT READ IT.

- Step 9  Five extract routines are jobbed and monitored (for completion flags) all tables and history files are created in LSDE lab directory /extract in the aix003 server.

- Steps 10 - 11 When jobs complete control processor executes AIX script tranfile which transfers files in the LSDE /extract directory in the aix003 server via FTP to the Server.

- Step 12  After file transfer has completed AIX script verlist is run to verify all files have been received by the Server.

- Step 13  File FileList.txt is retrieved from the Server to verify all files were received.

- 14 – 15  AIX script loadcom is run to send the Site_Last_Load.dat file to the Server which signals the Server to start processing.

| Full extract Function LSDE Options 2,1 | Routine | Approximate run time |
| --- | --- | --- |
|  | full^ultn | 28+ hrs -Monitors until all routine are done. |
|  | Umaster | 5 hrs 30 min. |
|  | Uresall | 20 hrs. 45 min. |
|  | Ucodetbls | <30sec. |
|  | Umethod | <10 sec. |
|  | Uacchis | 2hrs 30 min. |

Table 1
Full Extraction Routine Run Times

| Routine | Description |
| --- | --- |
| umaster | Creates PatientMaster.dat file for all patients. |
| uresall | Creates multiple PatientResults.dat files for all patients |
| ucodetbls | Creates 16 data dictionary files (see table 2) |
| umethod | Creates TestMethod.dat for the method code dictionary (see table 3) |
| uacchis | Creates file AccessionHistory.dat (see table 3) |

- Table 2
Full Extraction Routines

- Incremental extract

- Manual Start/Stop Incremental Extractions:

Incremental extractions should not need to be initiated manually since the process is run daily.  However, if for some reason SQL fails to process extracted files for a day or more, use LSDE function options 3,1 to enter the appropriate date incremental extraction start date. (see LSDE Utility Documentation for details).

Incremental Extract:

^ultn:	Incremental Control Processor (See Figure 2 above)

If the Tivoli monitor does not kickoff or fails, an email is sent to the individual setup in the LSDE Utility

- Step 1 Tivoli monitor triggers AIX script lsdextract or it is started via SQ startup table

- Step 2  AIX script lsdextract jobs control processor routine  ^ultn

- Step 3 ^ultn starts

- Step 4 ^ultn delete all *.dat files from LSDE directory in the aix003 server.

- Step 5 Get the server address from lab global ^uextract.

- Step 6 - 8 Executes AIX script extstart to delete all *.dat files from the server and retrieve Site_LastDateProcessed.txt file from the server which contains a date stamp.  The date stamp is used to identify the number of days worth of data to extract.  The default is one day.

- Steps 9 and 10 Scan Site transaction global (^LTN) and creates scratch global *^upidx.

- Step 11 Start and monitor (for completion flags) five incremental extraction routines (see table 3). All incremental tables and history files are created in LSDE /extract directory .

- Step 12 Routine uresint and umasint read global ^upidx which they use to create incremental extraction files, umasint creates one PatientMaster.dat. uresint creates one file for every 3 million patient records as a resulted it creates multiple PatientResults_x.dat files (x = 1, 2, 3… etc).

- Step 13 and 14 Control processor executes AIX script tranfile which transfers files in the LSDE /extract directory in the aix003 server via FTP to the server.

- Step 15 and 16 After file transfer has completed AIX script verlist is run to verify all files have been received by the Server.

- Step 17 and 18 It then executes AIX script loadcom that sends the Site_Last_Load.dat file to the Server which signals the Server to start processing.

*^upidx contains all the changed patient data.

| Incremental | Routine | Approximate run time |
| --- | --- | --- |
| Ultn | uresint | 2 hours 30 minutes |
|  | Umasint | 30 minutes |
|  | ucodetbls | 30 seconds |
|  | umethod | 10 seconds. |
|  | Uacchis | 2hrs 30 min. |

Table 3

Routine Run Times

| Routine | Description |
| --- | --- |
| Uresint | Patients Results |
| Umasint | Patients Master File |
| Uacchis | Accession Number History |
| Ucodetbls | Dictionary Tables |
| Umethod | Method Codes |

Table 4
Incremental Routines

- AIX Shell scripts

The information listed below provides specific details about the AIX Shell Scripts utilized throughout the

extraction logic.  The same scripts are used for both the incremental  and full extract processes.  Note: Full extraction process retrieves but does not read Site_LastDateProcessed.txt file to determine how many days worth of data to extract.

Note:

Tivoli monitor calls AIX script LSDExtract for daily automatic incremental extractions.

LSDE Utility option 2 calls AIX script fulextract to manually start full extractions.

All scripts are located on AIX Lab system in the LSDE  /extract directory.

| AIX Shell Script | Function | Calling Routine |
| --- | --- | --- |
| LSDExtract | Starts control processor ultn for incremental extractions. | Tivoli monitor |
| Extstart | Retrieves Site_LastDateProcessed.txt date file from the Server and deletes all .dat files from the Server. This routine is the only routine that deletes the .txt or .dat files from the Server environment. There are no other temporary files being created that requires deletion. | Ultn |
| Tranfile | Transfers all extraction files from the LSDE /extract directory in the aix003 server to Server via FTP. | Ultn |
| Verlist | Retrieves a record of all files from the Server after FTP for verification. | Ultn |
| Loadcom | Sends Site_Last_Load.dat start process file to Server. | Ultn |
| Fulextract | Calls full^ultn to initiate a full extraction. This routine is run from the LSDE utility, option 1. (see LSDE Utility Documentation for details). | LSDE Utility |

Table 5 
AIX Scripts

- Routines:

The information listed below provides specific details about the routines utilized throughout the extraction logic.

Control Processor

ultn

Controls entire extraction process by calling all data and table extract routines and monitors them until they run to completion.  It also calls all the AIX scripts (see table 5 AIX Scripts)

ful^ultn

Controls the full extraction process by calling all data and table extract routines and monitors them until they run to completion. This routine is executed from the LSDE Utility provided to Site Health.

Routines Executed for Full Extract Only:

umaster	Is run when a full restore is required. Program extracts all Site patient master records and creates file PatientMaster.dat.  A full extraction can only be manual started using lab system function LSDE option 2 “Start Full Extract” (see LSDE Utility Documentation for details).

uresall	Called by ultn control Processor when a full extraction has been initiated, uresall extracts all patient test results creating multiple PatientResults_x.dat files.

Routines Executed for Incremental Extract Only:

uresint		Called by ultn.  Creates incremental file PatientResults_x.dat (see table 3).

umasint	Called by ultn.  Creates incremental file PatientMaster.dat (see table 3).

Routines Executed for both Full & Incremental Extracts:

ucodetbls	Called by ultn.  Creates 16 data dictionary files (see table 2).

umethod	Called by ultn.  Creates TestMethod.dat for the method code dictionary (see table 3).

uacchis  	Called by ultn.  Creates file AccessionHistory.dat (see table 3).

Error Messages:

To ensure process and data dependability, all programs have standard error trapping implemented as part of their functionality. Error trapping forces programs that fail to execute a error routine which records errors and

or critical informational messages.  These errors/messages are then *e-mailed to support staff before the program can halt.

There are almost an unlimited number of error messages the can be generated as a result of a program error. Error trapping provides Site staff with a clue as to what caused the problem which prevented the program from running to completion.

Below are examples of email message that can be generated by program error trapping functionality.

| Subject | Message | Action to Take |
| --- | --- | --- |
| LSDE Results Incremental Extractor Error | Routine uresall failed _$ze | Critical Error Call LSDE Support |
| LSDE Data Dictionary extract Error | Routine ucodetbls failed _$ze | Critical Error Call LSDE Support |
| LSDE Patient Master Extractor Error | Routine umasint failed _$ze | Critical Error Call LSDE Support |
| LSDE Full Results Extractor Error | Routine uresall failed _$ze | Critical Error Call LSDE Support |

Table 6

Sample Error messages

NOTE: $ze = actual program error that occurred, used by LSDE program support to analysis program errors.

There are almost an unlimited number of program errors that can occurs. $ze contain the error message that caused the error.

However informational messages are limited to critical operations that failed or those operations the control processor was unable to verify.

Below is a complete list of email informational messages.

| Subject | Message | Description | Person(s) Notified | System Action to be Taken |
| --- | --- | --- | --- | --- |
| LSDE Control Processor Extractor Error | Control Processor Has Been Disabled | Daily incremental extract program cannot run until it is “Enabled” | Site lab staff | Call Site Lab Staff. They should use Site lab function LSDE option1 to re-enable the control processor (see LSDE Utility documentation). The enabling of this option allows the daily incremental program to run automatically the next day or the staff can run the LSDE Utility routine manually right away. |
|  | Failed to remove data files from LSDE /extract directory on the aix003 server | Fails to remove *.dat files from previous incremental extraction. Most likely cause by incorrect file permissions | AIX system support. | Call LSDE System Support Team. The Support Team should check to see if files are in LSDE /extract directory on the aix003 server. If files exist, then these files need to be manually deleted. If any files are locked, the AIX (Unix) System Administrator needs to unlock the file and then the file needs to be manually deleted. File permissions at the directory level should be checked to ensure that the utility program has delete capability to perform the delete function (this is a rare occurrence). No additional activity needs to happen, the next day the incremental program will start and continue the process. This process can also be started manually using the LSDE Utility. |

| Subject | Message | Description | Person(s) Notified | System Action to be Taken |
| --- | --- | --- | --- | --- |
|  | Failed to remove file FileList.txt from LSDE /extract directory on the server | FileList.txt file is used by the control processor to confirm all files sent to Server were received. Causes are – - File is missing and cannot be deleted or file permissions are incorrect. This is a non-critical error, extraction programs continue to run. | AIX system support/ SQL System Support | This typically happens, if the Server goes down, while the incremental process is updating the files. To rectify the problem, the LSDE System Support Team should check to see if the server is up. And then delete all the .dat files from the Server. Check the file permissions (as explained in the previous step) to ensure that the utility has file deletion capability. No new action is required. If the server is up, the next time the incremental process runs, it will copy the files and continue its processing. Staff can also confirm all files were received, FTP those that were not sent, and then manually run the SQL process. SQL Support is listed just to verify that there was nothing specific to SQL that needs to be addressed based on the review of the log file. |

| Subject | Message | Description | Person(s) Notified | System Action to be Taken |
| --- | --- | --- | --- | --- |
| LSDE Control Processor Extractor Error | Failed to execute Unix shell extstart on server xxxx. xxxx = is the server where SQL is installed | Causes – - Script extstart does not exist - Server is down - Unable to login to server - File transfer failed - Site_LastDateProcessed.txt missing or file permissions are incorrect - General FTP file transfer errors | AIX System Support Team/ SQL Support Team | Call AIX Support Team. The team needs to check for the following: - Script exists – if that script does not exist, then that script needs to be reinstalled from the backup. - Server is down – then system or network routines needs to be run to bring the server back to an operational state. - Unable to login to server – same as above. - File transfer failed – same as above, this happens because of either system or network. - General FTP file transfer error – same as above, this happens because of either system or network problem. - Missing Site_LastDateProcessed.txt – Call SQL Support Team to verify why the process failed. This team will needs to verify the log file to understand what caused this failure, rectify problem and rerun the process. When the problem is rectified and fixed, no additional action is required, since the incremental process will start and continue processing. Staff can run the incremental extract manually using the LSDE Utility. |
|  | Failed to open file Site_LastDateProcessed.txt | This file is created by the SQL process. If this file is missing, then that file cannot be read by the control processor. The Site_LastDateProcessed.txt is read by control processor to determine extract start date. | SQL Support Team | Call the SQL Support Team. This team will needs to verify the log file to understand what caused this failure, rectify problem. SQL Support Team will have to recreate this file manually with the date when the files were last processed (specification for this file is provided) so that next day the control process can use this file. Staff can run the incremental extract manually using the LSDE Utility. |

| Subject | Message | Description | Person(s) Notified | System Action to be Taken |
| --- | --- | --- | --- | --- |
| LSDE Control Processor Extractor Error | Failed to execute Unix shell verlist that verifies file transfer | Transfers FileList.txt file from the Server to AIX and is used to verify if the file was transferred to the server. | AIX System Support/ SQL Support Team/ LSDE (MUMPS) program support | - Script verlist does not exist – Call MUMPS Program Support to reinstall script - Server is down - Call AIX System Support to check the cause for the server being down. - FileList.txt missing or file permissions are incorrect - check server file permissions SQL Support is listed just to verify that there was nothing specific to SQL that needs to be addressed based on the review of the log file. The Site_Last_Load.txt can be manually created, FTP to the Server and then restart the SQL process. |
|  | Patient Results file transfer Failed, Verified 8 out of 9 sent | Nine (9) files were sent to the Server but only 8 were verified. - Server went down during file transfer - File FileList.txt is corrupted | LSDE program support | Call LSDE Support Team. The team should manually FTP all the PatientResults_x.dat files from AIX to the Server using the same username and password that the script uses. The Site_Last_Load.txt can be then manually created, FTP to the Server and then restart the SQL process. |
|  | Failed to open file Site_Last_Load.txt | File permissions are incorrect. This is the file that signals SQL to begin processing, this error signals that the SQL process could not read the file. | AIX system support | Call AIX System Support Team. This team needs to check file permissions in the AIX system to ensure the SQL process can access the file. The Site_Last_Load.txt can be then manually created, FTP to the Server and then restart SQL process. |

| Subject | Message | Description | Person(s) Notified | System Action to be Taken |
| --- | --- | --- | --- | --- |
| LSDE Control Processor Extractor Error | Site_Last_Load.txt that signals server "_server_" to start processing Failed server = nameserver for Server | This typically happens when you switch servers in the middle of the FTP process and the servers are being switched while the process is running, you will run into this type of an error. Transfers Site_Last_load.txt file from AIX to Server that is used to signal the server to start processing. | AIX System Support/ SQL System Support/ LSDE (MUMPS) program support. | - AIX script loadcom does not exist - Call MUMPS Program Support to reinstall script - Server is down - Call AIX System Support to check server availability. - Unable to login to server - Call SQL System Support to check server availability - File transfer failed or General FTP file transfer errors - Call AIX Support Team to verify that it is not a system or network issue. - The Site_Last_Load.txt can be then manually created, FTP to the Server and then restart the SQL process. |
| Terminal mumps program errors | Control Processor (ultn) "_$ze | Critical Error Below are examples of program errors Routine uresall failed <UNDEFINED>bat+1^uresint Control Processor (ultn) <UNDEFINED>verftp1+3^ultn | LSDE (MUMPS) Program Support | Since this is a critical error because of program errors. These are error traps. Call MUMPS Program Support to review and fix program errors |

- Data Extraction Files

| # | Global | Description | File |
| --- | --- | --- | --- |
| 1 | ^LAB | Patient Master File Patient Demographics | PatientMaster.dat |
| 2 | ^Multiple Globals | Patient Tests Results | PatientResults.dat |
| 3 | ^LBI(1,TS,"Q") | Method code Dictionary | TestMethod.dat |
| 4 | ^ANH | Accession History File | AccessionHistory.dat |

Table 9

Extraction Files

- Text Files

| # | Source | Description | File |
| --- | --- | --- | --- |
| 1 | LSDE lab system | Signal for Server to start processing Incremental data files | Site_Last_Load.txt |
| 2 | Server | Date stamp file that tell incremental processor what date to began extraction | Site_LastDateProcessed.txt |
| 3 | LSDE lab system | List of all files sent to Server. | Filelist.txt |

Table 10

Control Text Files

- Data Dictionaries

| # | Global | Description | File |
| --- | --- | --- | --- |
| 1 | ^LBI(1,CD) | Battery Dictionary | BatterycodeList.dat |
| 2 | ^LBI(1,TS) | Test Dictionary | TestcodeList.dat |
| 3 | ^LBI(1,CD) | Package Dictionary | PackagecodeList.dat |
| 4 | ^LBI(4) | English Text Translations | TextTranslation.dat |
| 5 | ^LBI(5) | Laboratory Department Dictionary | LabDept.dat |
| 6 | ^LBI(6) | Laboratory Location Dictionary | LabLoc.dat |
| 7 | ^LBI("6A") | Performing Laboratory Dictionary | PerformLab.dat |
| 8 | ^LBI(8) | Diagnosis Dictionary | DiagnosisCode.dat |
| 9 | ^LBI(9) | Tube Type Dictionary | TubeType.dat |
| 10 | ^LBI(10) | Reference Lab Dictionary | RefLab.dat |
| 11 | ^LBI(11) | Tech Code Dictionary | TecCode.dat |
| 12 | ^LBI(12) | Location Code/Room Number Dictionary | LocationRoomList.dat |
| 13 | ^LBI(12E) | Event Type Maintenance | EventType.dat |
| 14 | ^LBI(12H) | Hospital Id Codes for Multiple Hospital | HospitalList.dat |
| 15 | ^LBI(13) | Physician Dictionary | DoctorList.dat |
| 16 | ^LBI(1,TS,”Q” | Normal Range Dictionary | NormalRange.dat |

Table 7

Data Dictionary Lab Files

- File Specifications

- Test/Battery/Package Dictionary

- Battery

Purpose: 	Description of all associated parameters for all batteries, which are defined for the laboratory.

File Name:	BatterycodeList.dat

| Battery Code | *Test Type “B” | Test Name | Laboratory department code | Orderable (Y/N) | Reference Lab Code | Alternate Name | Tests Comprising Battery | ***Result At Request Entry |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

***Result at Request Entry

Y = yes

M = yes not mandatory

Null = no mandatory

Sample Record:      Battery CHD has four tests SDES, SREQ, PROBE and RPT

CHD|B|Chlamydia, DNA Probe|MC|Y|||SDES|M

CHD|B|Chlamydia, DNA Probe|MC|Y|||SREQ|M

CHD|B|Chlamydia, DNA Probe|MC|Y|||PROBE|N

CHD|B|Chlamydia, DNA Probe|MC|Y|||RPT|N

- Test/Battery/Package Dictionary

- Test

Purpose: 	Description of all associated parameters for all tests, which are defined for the laboratory.

File Name: 	TestcodeList.dat contains 14545 records, 10288 tests, 4085 batteries and 171 packages.

| Test Code | *Test Type “T” | Test Name | Laboratory Department Code | **Orderable | Reference Lab Code | Result units | Number Of Decimal Places |
| --- | --- | --- | --- | --- | --- | --- | --- |

| Result At Request Entry | Automatic Answer | ***Worksheet Pointers (Null) | Result Suppression Flag ("Y" Or Null) | Sensitive Test Flag ("Y" Or "N") | Alternate Test Name |
| --- | --- | --- | --- | --- | --- |

*Test type

T = individual test

B = Battery

P = Package

**Orderable (Y/N/B/T)

B = bill only, no report

T = text lookup only

***Worksheet Pointers

There can be multiple lines this field will be null for now.

Sample Record:

ABUDSN|T|Drug Scrn UR, Neonate|C|N|C|||N|||N|Alta Bates Test

- Test/Battery/Package Dictionary

- Package

Purpose: 	Description of all associated parameters for all packages, which are defined for the laboratory.

File Name:	PackagecodeList.dat

| Package Code | *Test Type “P” | Test Name | Orderable (Y/N) | Alternate Name | Tests Comprising Package |
| --- | --- | --- | --- | --- | --- |

Sample Record:

MEDIC|P|DIC Panel - SCH Only|Y|Coag Survey II - SCH Only|PT

MEDIC|P|DIC Panel - SCH Only|Y|Coag Survey II - SCH Only|PTT

- English Text Translations

Purpose: 	Translations of all predefined English language comments and free text results currently active in the system.

File Name: 	TextTranslation.dat containing 15150 records

| English Text Code | English translation | * Inactive code | **Type Code |
| --- | --- | --- | --- |

* Inactive code

0 = active

Date inactivated

** Type Code AS = anatomic pathology specimen code BC = blood bank comment BS = blood bank status BT = blood type code BW = Blood Bank Workload Code C = quality control code D = department specific code G = group text code M = quality control method MG = Microbiology Organism Group Code MO = Microbiology Organism Code (individual) MM = Microbiology Media Code MS = Microbiology Sensitivity Type Code MW = Microbiology Workup Workload Code P = priority code Q = quality control modifier R = QC (Westgard) rule code S = specimen type code T = test result code (used to allow specific listing of these codes) W = workload recording code X = exclude from CAP workload

Sample Record:

A12800|12800IU/mL.Suggestive of recent streptococcal infection|0|D|

- Laboratory Department Dictionary

Purpose: 	Used for association of tests and batteries with the appropriate department and for the organization of certain data for reporting purposes.

File Name:	LabDept.dat Containing 22 records

| Department Code | Department Name |
| --- | --- |

Sample Record:

AP|ANATOMIC PATHOLOGY

- Laboratory Location Dictionary

Purpose: 	It is used to identify the location of terminals from which orders are placed. This may be used for assignment of tests to worksheets, printing of receipt labels, etc

File Name:	LabLoc.dat Containing 2069 of which 56 contain duplicate review parameters,

| Location Code | Location Name | Duplicate Review Parameters | Repeat Password Parameter | Hospital ID | Track Location | Telephone Number | Callback Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |

Sample Record:

MESP|SSME - 5301 F ST <14,985,98177,,SS,22,482>||900|ME|MEPSC|7331490|FAX: 733-1491

- Performing Laboratory Dictionary

Purpose:	Performing laboratories identify physical facilities

File name:	PerformLab.dat Containing 422 records

| Performing Laboratory | Name of performing laboratory | License number | Director’s name | Performing Laboratory reporting code | *Active flag | Address |
| --- | --- | --- | --- | --- | --- | --- |

*Active flag

0 = I: Inactive

1 = C: Active, Code (flag to indicate display of only the Code on reports)

2 = T: Active, Text {flag to indicate display of only the text on reports}

3 = B: Active, Both (flag to indicate display of both the Active status code and 
the translation of that code on reports).

Sample Record:

CD|CPMC Davies Lab||Richard Garcia-Kennedy|CD|3| CPMC Davies Lab, Castro & Dubose, SF, CA 94115

- Diagnosis Dictionary

Purpose:	Used to define diagnostic codes for translation to the appropriate English text. Each code is assigned a 5 character alphanumeric code.

File name:	DiagnosisCode.dat containing record 20385.

| Diagnosis Code | Diagnosis Data |
| --- | --- |

Sample Record:

66.39|XXBILAT FALL DESTR NEC

- Tube Type Dictionary

Purpose: 	Tube types which print on labels. It also specifies the maximum amount that the tube will hold so that the number of tubes required can be calculated.

File name:	TubeType.dat Containing 116 records

| Tube Type code | Tube type name | Volume in mls | Tube type group |
| --- | --- | --- | --- |

Sample Record:

BC|BldCult|10|MC

- Reference Lab Dictionary

Purpose:	Identifies all reference labs which tests are sent to.

File name:	RefLab.dat  containing 11 records

| Ref. lab mnemonic code | Reference lab name | Address |
| --- | --- | --- |

Sample Record:

Q|Quest Laboratory|33608 Ortega Highway

- Tech Code Dictionary

Purpose: 	Translation between the numerical tech code and the name.

File name:	TecCode.dat containing 4822 records

| Tech code | Tech name | *Tech Code Active |
| --- | --- | --- |

*Tech Code Active

Y = active tech

N = deactivated tech

Sample Record:

37|TEST,FUNCTIONS|Y

- Location Code/Room Number Dictionary

Purpose:	Valid patient locations and room numbers

File name:	LocationRoomList.dat that contains 9496 records

| location code | Hospital ID | *Location Type | **Location Active Flag | Location name text |
| --- | --- | --- | --- | --- |

* Location Type definitions

1 = inpatient

2 = outpatient

3 = emergency room

(treated as outpatient in file structure)

4 = outside

(treated as outpatient in file structure)

G = group of locations

R = room number definition

** Location Active Flag 0 = Inactive

Sample Record:

MARH|8|4|1|MERCY AMERICAN RIVER HOSPITAL

- Event Type Maintenance

Purpose:  	Contains the definitions of events types within hospital id.

File name:	EventType.dat containing record 21.

| Hospital ID | Event Type | Description | Group ID | Status A = Active I = Inactive | *Event Time Frame Duration | Number of days after close to deactivate for orders |
| --- | --- | --- | --- | --- | --- | --- |

*Valid values are:

1D, 1W, 2W, 1M, 2M, 3M, 4M, 6M, 12M value can also be null.

D = day	W = week M = month

Sample Record:

10|ER|Emergency Room|3|A|1D|0
10IP|Inpatient|1|A|1D|0
10|OP|Outpatient|2|A|1D|90
10|OS|Outside|4|A|1D|0

- Hospital Id Codes for Multiple Hospital Sites

Purpose:	Contains the definitions of all the hospital id's that will be accessing the system.

File name:	HospitalList.dat  contains 23 records

| Hospital ID | User Hospital ID | Hospital name | Active/Inactive Flag A = active I = inactive | Commercial Lab Availability Flag A = active I = inactive |
| --- | --- | --- | --- | --- |

Sample Record:

11|SR|SITE SANTA ROSA MEDICAL CENTER AND SITE WARRACK HOSPITAL|A|

- Physician Dictionary

Purpose:	Alphabetical and numerical physician data.  Inside physician codes are alpha numeric (1UN.UN).

Outside physician codes are numeric preceded with the letter O (1"O"1N.N)

File name:	DoctorList.dat containing 102089 records with 9851 as outside Physician.

| Physician Code | Hospital ID | Physician Name (Last, First MI) | Address | City, State Zip | Primary Phone | Active Status A=active I=inactive |
| --- | --- | --- | --- | --- | --- | --- |
| UPIN | Primary Location | Primary Location Hospital ID | HIS Physician | Hospital ID |  |  |

Sample Record:

1051|4|MILLER, CATHERINE|1750 EL CAMINO REAL||(650) 692-0182|A||A43796|||

- Normal Range File

Purpose: 	File is used as a lookup to calculate normal range for results for individual tests base on sex and age of the patient.

File Name:  	NormalRange.dat

| Metcode (metcode) 1 | Test (tst) | Start Date (sdx) | End Date (ed) | Age (age) | Sex (sex) | Normal Range (nran) | Units (un) | Technical Range (tr) 9 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Sample Record:

MPNEP|A1AT|01/13/2007|10/14/2114|0|F|90-200|mg/dL|4-520

- Patient Master File

Purpose: 	Patient Identification File contains patient demographics, room location, admit date etc.

File Name: 	PatientMaster.dat

Incremental loads

- Master File PatientMaster.dat -  Search transaction global (new patients and updates)

- Patient Results PatitentResults.dat - Search transaction global (updated patient record, updated or new results)

- Dictionary Tables - 	All 15 files are recreated

- Method Code file TestMethod.dat

Master File PatientMaster.dat

| Medical Record Number (mrn) 1 |  | Hospital ID (hid) |  | Last Name (lname) |  | First Name (fname) | Middle Name (mname) |  | Date of Birth (dob) |  |  | Sex (sex) | Social Security Number (ssn) |  |  | Patient Internal Identifier (pidx) 9 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Patient Address (pataddr) 10 | Patient City (patcity) |  | Patient State (patstate) |  | Patient Zip (patzip) |  | Phone Home (patphone) |  |  | Patient Location Hospital ID (patlid) |  |  |  | Patient Location (patloc) |  | Patient Room (patroom) 17 |
| Patient Event Type (patevt) 18 | Admit Date (addate) |  | Discharge Date (disdate) |  | Diagnosis (diag) ^LBI(8) DiagnosisCode.dat |  |  | Admit Phys 1 (adphy1) ^LBI(13) DoctorList.dat |  |  | Admit Phys 2 (adphy2) ^LBI(13) DoctorList.dat |  |  |  | Admit Phys 3 (adphy3) ^LBI(13) DoctorList.dat | Admit Tech Code (amtec) ^LBI(11) TecCode.dat 25 |

Example record 25 fields:

04157263|20|BABA|YUMIKO||19580208|F|564-76-7924|137P10006|5115 SHALIMAR CIR -|FREMONT|CA|9

4555|510-792-7420|20|HMO||OP|05-17-2004|05-23-2004|||||0

- Patient Results File

Purpose:  Contains patient test results and various lab related data.

File Name:	PatientResults.dat

Order Level record file PatitentResults.dat  Full extraction 12hrs. 45mins incremental extraction

| Medical Record Number (mrn) 1 | Hospital ID (hid) ^LBI(12H) HospitalList.dat |  | Site Order # (ordx) |  | Order Physician Code (orderphy) ^LBI(13) DoctorList.dat | Hospital ID (phyhid) ^LBI(12H) HospitalList.dat |  | Ordering Account Number (orderacc) |  | Ordering Lab Code (orderlab) 7 ^LBI(6) LabLoc.dat |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Patient Ordering Location (patorderloc) 8 ^LBI("6A") PerformLab.dat |  | Order Tech (ordertec) ^LBI(11) TecCode.dat |  | Billing Code “Null” (billcode) | Order Date & Time (ordatetime) |  | Order Comment (ocomment) ^LBI(4) 12 TextTranslation.dat |  |  |  |

Example record 12 fields:

85272964|16|137L343|00004|16|654987|MNML|MP;16|16000||05-14-2004 10:50:00|137C712|F1

054|||05-14-2004 10:00:00|16000|05-14-2004 10:01:00|CA|C||||0|1|C|||S25747-0||||

CA|0|0|1|CA|16000|MNML|05-14-2004 10:52:27|MNRI8|MN||9.9|||||8.8-10.2|

Accession Level Record 6

| Accession (acc) 13 | Specimen Type (spectype) ^LBI(4) TextTranslation.dat | Drawing Tech (collecttec) ^LBI(11) TecCode.dat | Date & Time Collected (cdatetime) | Received Tech Code (rectec) ^LBI(11) TecCode.dat | Received Date & Time (recdatetime) 18 |
| --- | --- | --- | --- | --- | --- |

Example record 6 fields:

85272964|16|137L343|00004|16|654987|MNML|LAB-M;16|16000||05-14-2004 10:50:00||F1

054|SPUT||05-14-2004 10:00:00|16000|05-14-2004 10:01:00|CA|C||||0|1|C|||S25747-0||||

CA|0|0|1|CA|16000|MNML|05-14-2004 10:52:27|MNRI8|MN||9.9|||||8.8-10.2|

Patient Results File Contd.

Battery Level data

| Battery Code ( btocode) 19 ^LBI(1, BatterycodeList.dat | Battery Dept (batdept) ^LBI(5) LabDept.dat |  | Date & Time Cancelled (btdattm) |  | Order Diagnosis (orderdiag) ^LBI(8) DiagnosisCode.dat |  | Order Comments (btordercom) ^LBI(4) TextTranslation.dat |  | Cancel Event (btordercan) Tech Code If canceled |  | Credit Event (creditev) 25 Y or N |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lab Department (btlabdept) 26 ^LBI(5) LabDept.dat |  | Priority Codes (btpriorty) |  | Order Cancelled Reason (btcanreason) |  | HIS 0rder Number (hisorder) |  | Ordering Rank (ordrank) 30 |  |  |  |

Example record 12 fields:

85272964|16|137L343|00004|16|654987|MNML|LAB-M;16|16000||05-14-2004 10:50:00||F1

054|||05-14-2004 10:00:00|16000|05-14-2004 10:01:00|CA|C||||0|1|C|||S25747-0||||

CA|0|0|1|CA|16000|MNML|05-14-2004 10:52:27|MNRI8|MN||9.9|||||8.8-10.2|

||||CA|0|0|1|CA|

Test Level data

| Package Code (paocode) 31 ^LBI(1 PackagecodeList.dat | Battery Code ( btocode) ^LBI(1 BatterycodeList.dat | Test Code (tst) ^LBI(1 TestcodeList.dat | Package_Qty (packqty) | Battery_Qty (batqty) | Test_Code_Qty (testqty) 36 |
| --- | --- | --- | --- | --- | --- |

Example record 6 fields:

85272964|16|137L343|00004|16|654987|MNML|LAB-M;16|16000||05-14-2004 10:50:00||F1

054|||05-14-2004 10:00:00|16000|05-14-2004 10:01:00|CA|C||||0|1|C|||S25747-0||||

CA|0|0|1|CA|16000|MNML|05-14-2004 10:52:27|MNRI8|MN||9.9|||||8.8-10.2|

Patient Results File Contd.

Results  data level

| Result Code Mnemonic (tst) 37 ^LBI(1 TestcodeList.dat | Result Tech (resulttech) ^LBI(11) TecCode.dat |  | Result Lab Code (resultlab) ^LBI(6) LabLoc.dat |  |  |  | Resulted Date & Time (resdattm) |  |  |  |  |  | Method Code (metcode ) |  |  |  | Performing Lab Code (perflab) ^LBI("6A") PerformLab.dat |  |  |  |  | Result QA flags (resqa) 43 |  |  |  |  |  |  | Free text Limited to 2000 chars (restxt) 44 |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Current History Flag Current Results = “C” Histroy Results = “H” (curhis) 45 |  | Copy to Physician 1 (cphy(1)) ^LBI(13) DoctorList.dat |  |  |  |  |  |  | Copy to Physician 2 (cphy(2)) ^LBI(13) DoctorList.dat |  |  |  |  |  | Copy to Physician 3 (cphy(3)) ^LBI(13) DoctorList.dat |  |  |  |  |  | Normal Range (norrange) |  |  | Supervising Physician (supphy) 50 |  |  |  |  |  | Test Results (tstres) 51 |  |  |  |  |  |  |  |  |
| Comments Append comments as needed (rescom) 52 |  | Site_Order_Event_Mask _Flags_Lookup (evemask) |  |  |  |  |  | Container ID Battery (bcidtt) |  |  |  | Container ID Stat Battery (bcidstt) |  |  |  | Container Id Results (ctidtt) |  | Container Id Stat Results (ctidst) |  |  |  |  | Sign in date and time Null 58 |  |  |  | Patient Location (patloc) |  |  |  | Patient Room (patroom) 60 |  |  |  |  |  |  |  |

Example record 14 fields:

85272964|16|137L343|00004|16|654987|MNML|LAB-M;16|16000||05-14-2004 10:50:00||F1

054|||05-14-2004 10:00:00|16000|05-14-2004 10:01:00|CA|C||||0|1|C|||S25747-0||||

CA|0|0|1|CA|16000|MNML|05-14-2004 10:52:27|MNRI8|MN||9.9|C||||8.8-10.2|

- Test Method Code File

Purpose:  	Contains individual test method code descriptions.

File Name: 	TestMethod.dat

Method Code file TestMethod.dat

| Test Code (tst) | Method Code (met) | Method Code Description (nam) | Validate From Date (valfrom) | Validate To Date (valto) |
| --- | --- | --- | --- | --- |

Sample Record:

ABA1C|CORMHA|Performed at: MEMORIAL MEDICAL CENTER, 1700 Coffee Rd, Modesto, CA

95355|06-09-2006|01-11-2001

- Accession History File

Purpose: 	Used to keep the history of all orders, results and credits on an accession number.

File Name: 	AccessionHistory.dat

Accession number history file AccessionHistory.dat. Run time 15 minutes Numbers of records 3,837,259 processed
File size 1,610,034,824

| Patient Internal ID (pidx) 1 | Order # (ordx) | Accession number (an) 1 | Lab Location (labloc) | Order Code (ocode) | Type Code (typec) | Tech Code (techcode) |
| --- | --- | --- | --- | --- | --- | --- |

Example record 8 fields:

129P94754|169L27098|A1098|RVML|URC|2|9640|

- Site Last Load File

Purpose:	After the file transfer has been completed and verified, Site_Last_Load.txt is sent to the Server by control processor ultn which signals the server to start processing.  If for any reason the extract process fails this file is not send to the server.

File Name: 	Site_Last_Load.txt

| Switch signal “Y” = Process | Number of extracted Patients |
| --- | --- |

Example record 2 fields

Y|8640315

- Site Last Date Processed File

Purpose: 	This file is retrieved from the Server and contains a date and time stamp. The date stamp tells the processor what date to began incremental processing.  The time stamp is not used.

File Name:	Site_LastDateProcessed.txt

| File Header |  |
| --- | --- |
| Date Stamp | Time |

Example record header and 2 fields

#PROCESSED_DATE

03/19/2007 06:01:00

- FTP File Transfer Confirmation File

Purpose:	File is used by the control processor to confirm the number of result files sent to SQL.

File Name: 	Filelist.txt

| Date | Time | Size | Name |
| --- | --- | --- | --- |

Example record

01/02/2008|11:03 AM|3,200,768| PatientResults_x.dat

- Transaction Global File Specification

Transactions are created for each change that occurs in the lab system. These transactions are written to global ^LTN.  The lab system transaction processor continually reads this file and processes any pending transactions.

LSDE transaction processor (ultn) processes global ^LTN looking for the change transaction types listed in bold below. When a change transaction type is identified,  transaction processor (ultn) extracts the patient’s Patient Internal Identifier (PIDX).  The PIDX is stored temporally in global ^Upidx.

Incremental processors uresint (patients results) and umasint (master patient records) process ^Upidx global.

The following transaction types are processed by the LSDE transaction processor (ultn):

Type 4 : Lab ID Entry

Definition:  Admit to the lab or hospital, Delete lab packages, batteries or tests and Transfer hospital, room locations,

etc. If this type of transaction is found, the entire Patient record is extracted.

^LTN(tdj,tpr,tsq) d3 delimiter

dat="4!!0#18##SC1I7EJ1##272073;14|889818#GAP6##11309\168P47686\272073\14\CH\0"

Piece 1 : Header Record

2 : patient PIDX (permanent internal patient number)

Type 5 : Battery Requisition/Accession Number Modification

Definition:  Test, battery and package order transactions

^LTN(tdj,tpr,tsq) - ORDX Level (Primary level for LTN)  d3 delimiter

dat="5!!0#18C#/dev/null:3678210#SC1I8BJ1##0016657;8|889819#(GOP5) OE INTERFACE#0

#11309#\N\\168P46505#168L245070\39537;8\1,0016657,8,EP,1,2\48979173\MER\4EAS;8\1

2172006,0200\\"

Piece  4 : internal patient id

Piece 1 : patient number (PIDX)

2 : order number (ORDX)

Type 7 : Results

Definition:  Transactions are created whenever lab results are available.

^LTN(tdj,tpr,tsq)  d3 delimiter

dat="7!B!0#458C#RVGA#1157104#9121##BOP##11309\RVML\168L245047\S779168\TS\\3\\\\\\"

Piece 1 : Header Record

3 : order index (ORDX)

4 : accession number (AN)

5 : order code (BT)

Type 8 : Deletions of tests

Definition:  Transactions are created whenever a Test, battery or package is canceled.

^LTN(tdj,tpr,tsq) - an Level (Primary level for LTN)  d3 delimiter

dat="8!B!0#715#SR023#4921170#17021##CR##11309\S776899\\SRR"

Piece 1 : Header Record

2 : accession number

Type 9 : Patient Data Merge

Definition:  Merge-from patient number (old MRN) merge-to patient number (new MRN) transactions

dat="9\71500\EDBAT\5298146#ED01#####98988207;21!1002046|674374;21!1002063\98988207;21\674374;21\1\\\\\\168P47769\168P47768\\\#"

Piece 	5 : merge-from patient number (old MRN)  d1 delimiter

6 : merge-to patient number (new MRN)

7 : delete flag

13 : old PIDX

14 : new PIDX

Type 16 : Special Patient Data

Definition:  Hospital specific patient transaction data set in global ^REG(“site”

dat="16\18\/dev/null:3678210(GOP5)\SC1I8BJ1\0016657;8"  d1 delimiter

Piece 5 : patient's hospital number

^REG is used to maintain special data related to the patient. Currently the primary node is the site,

emphasizing the site specific nature of this file.

User Defined Field Definitions

^REG(SITE,PN

- 0000000;3

- - 1 = 510-471-0186            		PT. PHONE

- - 2 = 34276 TORREY PINE LN. - 	PT. ADDRESS

- - 3 = UNION CITY		 	PT. CITY

- - 4 = CA				PT. STATE

- - 5 = 94587			  	PT. ZIP

Etc

See “Special reg fields.doc” for global record layout.

- LSDE Utility Documentation

The LSDE Utility documentation provides detailed information including screenshots for the following lab extraction features:

- Enable/Disable Incremental Processor

Turns daily incremental processing on and off.

- Start /Stop Full Extract

Starts and stops extraction of all results, master files, tables, and dictionaries from the Site lab system.

- Start/Stop Incremental Extract
   Manual start or stop daily incremental extraction.

- Set Server

Sets server that receives extracted files (TEST, QA, Production).

- Set Error Email Address

Assign email address where error notification will be sent.

- Show Summary

Shows current parameter settings.

- Monitor Incremental Extract
   Monitors progress and status of incremental extract process.